{

"Monitor":{

"DeviceInfo":{

"DeviceMod":"PIR-V1.000",

"DeviceName":"As per name input in setup",

"ID":"24:0A:C4:AF:DF:98", we need to be able to assign our own mac id

"MainAppVer":"1.1.1.1", from the device

"MainBootVer":"1.1.1.1", from the device

"WiFi":{

"Ver":"1.3.5.8", from the device

"AP":{

"MAC":"24:0A:C4:AF:DF:99",

"State":1,

"Signal":19.5

},

"STA":{

"MAC":"24:0A:C4:AF:DF:98",

"State":1,

"Signal":-40

}

}

},

"CH":{

"CH1":{

"status":0, enabled = 1 or disabled = 0

"description":"Max Output",

"MO":100, As per setup This is in %

},

"CH2":{

"status":0, enabled = 1 or disabled = 0

"description":"Dimming",

"DI":25, As per setup this is in %

"DC":96, counter of cycles

"DA":0, dimming active = 1 dimming in standby = 0

},

"CH3":{

"status":0, enabled = 1 or disabled = 0

"description":"Time Out",

"TO":20, As per setup this is displayed in min

},

"CH4":{

"status":0, enabled = 1 or disabled = 0

"description":"Sensitivity",

"SY":85,As per setup This is in %

"SC":445, counter of cycles

},

"Time":{

"ts":946686273

}

}

}

ts - timestamp in unix format.

There should be four settings for the user inputs

By default, these should all be on and the following be the defaults

Max output: 	100%

Dimming:		25%

Time out:	20 mins

Sensitivity:	100%